|  |  |  |  |
| --- | --- | --- | --- |
| # and Name | Location Notes | Type | Image |
| 1-M2-In\_diModica | 5/5/2021 - 13:21  M2 Inside Di Modica Crate | Grovee Bluetooth Temp/Hygro |  |
| 2-Pasha-OutKapoor | 6/23/21 -  On Kapoor’s chain-link fence enclosure.  Formerly M2-Out-diModica. | Grovee Bluetooth Temp/Hygro |  |
| 3-Container-SupStor | 5/7/21-  In actively used equipment storage container at Tennis Courts.  Removed for several hours on 6/22/21. | Grovee Bluetooth Temp/Hygro |  |
| 4-Pasha-InBotero | 6/23/21 -  Inside of Botero “Cavallo” crate.  Formerly 4-M3-Out-Mayer. | Grovee Bluetooth Temp/Hygro |  |
| 5-M3-In-Haring | 5/12/21 -  Inside wrapping of Acrobats | Grovee Bluetooth Temp/Hygro |  |
| 6-Container238  2AQA6-H5074 | 5/12/21  In artwork storage container at Tennis Courts (Plensa Janus) | Grovee Bluetooth Temp/Hygro |  |
| A-M2-Out-diModica | 6/22/21 -  M2 Outside of Crate. Replaced the Bluetooth version on 6/22/21 | Grovee Wifi Temp/Hygro |  |
| B-M3-Out-Mayer | 6/22/21 -  M3 On top of crate in far end of storage tent  Replaced the Bluetooth version on 6/22/21  FELL and dislodged batteries- Found and enabled 7/20/2021 | Grovee Wifi Temp/Hygro |  |
|  |  |  |  |

Archived / Moved

|  |  |  |  |
| --- | --- | --- | --- |
| # and Name | Location Notes | Type | Image |
| 2- M2-Out-diModica | 5/18/21 - 6/23/21.  M2 On top of diModica crate (outside of crate)  Removed and replaced with A 6/22/21. | Grovee Bluetooth Temp/Hygro |  |
| 4-M3-Out-Mayer | 5/18/21 - 6/23/21  On top of crate in far end of storage tent  Removed and replaced with B 6/22/21. | Grovee Bluetooth Temp/Hygro |  |

Grovee Smart Themo-Hygrometer (Bluetooth)

Model: H5074

Power: CR2477/3.0V battery

SKU: H5074001